## Sheet1
Power & Energy Cost
Room | Area m2 | Lumen needed for total area (200 per m2) | Number of Bulbs required | Number of Bulbs used | Type of Bulbs used | Bulb Cost JD | Switches | Switches Cost JD | Socket | Socket Cost JOD | Wires for lighting m | Wires for Sockets m | Total wires | Wires Cost JOD
Living Room | 12 | 2400 | 3 | 3 | LED light bulbs(1.5 JD per bulb ) | 4.5 | 1 Fancy Switch | 0.75 | 3 | 1.5 | 15 | 23 | 38 | 38
|  |  | 800 lumens each | [5 empty] | 0.5 JD Each
Bedroom | 10 | 2000 | 1.4286 | 2 | LED light bulbs(1.5 JD per bulb ) | 3 | 1 Fancy Switch | 0.75 | 4 | 2 | 19 | 29 | 48 | 48
|  |  | 1400 lumens each | [5 empty] | 0.5 JD Each
Kitchen | 10 | 2000 | 1.4286 | 2 | LED light bulbs(1.5 JD per bulb ) | 3 | 1 Fancy Switch | 0.75 | 6 | 3 | 14 | 28 | 42 | 42
|  |  | 1400 lumens each | [5 empty] | 0.5 JD Each
Bathroom | 6 | 1200 | 0.85714 | 1 | LED light bulb (1.5 JD per bulb ) | 1.5 | Ordinary Switch | 0.5 | 1 | 0.5 | 22 | 18 | 40 | 40
|  |  | 1400 lumens each | [5 empty] | 0.5 JD Each
Total | [5 empty] | 12 |  | 2.75 |  | 7 |  |  |  | 168
Total Cost | 189.75
Electrical bill cost
Room | Power W | Energy(kWh)= power (kW) X time (h) | assumed Time h per day | Cost = Energy X 0.12JOD |  | Items Cost Percentage from the total cost
[6 empty] | Bulbs | 6.324%
Living Room | 30 | 7.2 | 8 | 0.86 |  | Switches | 1.449%
| 10W for 800 lumen LED bulb |  |  |  |  | Sockets | 3.689%
Bedroom | 28 | 4.2 | 5 | 0.5 |  | Wires | 88.54%
14W for 1400 lumen LED bulb
Kitchen | 28 | 5.88 | 7 | 0.71
14W for 1400 lumen LED bulb
Bathroom | 14 | 1.26 | 3 | 0.15
14W for 1400 lumen LED bulb
Substription |  |  |  | 5
Total per month |  |  |  | 7.22
if the operation time for each room increases for the same type and number of bulbs the energy used increases and also the cost of the electrical bill increases so their relation is Directly Proportional
[5 empty] | Room | Power W | Time (h) | Cost (JD)
[5 empty] | Bedroom | 28 | 5 | 0.5
[5 empty] | Kitchen | 28 | 7 | 0.71
Note on N5: user: to light bulb 1= 7 to light bulb 2 3 to ceiling 1m to sockert 1 1m to socket 2 15m